## Hoja1
INgezim Gluten QUICK
30.GL2.K2
Version: 04 2016
1.- | Introduce the OD values obtained with Standards and Controls supplied in the kit.
The calibration curve will be defined based on these values, and the formula (in the right/top corner of the curve) will be adapted to this particular assay.
|  |  | DO (1) | DO (2) | Media
| Neg. Control |  |  |  | 0 | O.D | ng/ml
| Standards Gliadine | 50 ng/mL |  |  | 0 | 0 | 50
|  | 25 ng/mL |  |  | 0 | 0 | 25
|  | 12,5 ng/mL |  |  | 0 | 0 | 12.5
|  | 6,25 ng/mL |  |  | 0 | 0 | 6.25
|  | 3,12 ng/mL |  |  | 0 | 0 | 3.12
2.- | Obtain and substitute the CONSTANTS values contained in the new formula:
Being: y = ax2 + bx + c
Value of constant "a" in the current formula:
Value of constant "b" in the current formula:
Value of constant "c" in the current formula:
3.- | Validation of the assay.
|  | Criteria 1 = | NOT VALIDATED
|  | Criteria 2 = | NOT VALIDATED
4.- | Introduce the OD values obtained on each dilution of each sample.
Introduce the applied dilution on each assayed sample
SAMPLE CONTENT
| ID. Sample | Dilution applied | OD Values |  | Average OD | ng/ml |  | ppm of Gluten
[6 empty] | (1) | (2) | (1) | (2)
| S1 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S2 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S3 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S4 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S5 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S6 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S7 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S8 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S9 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
| S10 |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 |  | 0
Constant "a"
Constant "b"
Constant "c"