## INSERT
PROTOCOLO 12.BTV.K.2 (Lengua Azul) | 12.BTV.K.2 PROTOCOL (Blue Tongue)
1. VALIDACIÓN DEL ENSAYO | 1. VALIDATION OF THE TEST
DO450nm 50ng/ml> 0,9 | OD 450nm 50ng/ml > 0,9
DO450nm Control Negativo (C-) < DO450nm 3,12ng/ml | OD 450nm Control Negativo (C-) < OD 450nm 3,12ng/ml
INGEZIM BTV DAS | INGEZIM BTV DAS

## LECTUR.
LECTURA / LECTURE
[9 empty] | MEAN | NG/ML
Punto de la curva / Standard point: 50ng/ml | [5 empty] | 1.38 | 1.45 |  | 1.415 | 50
Punto de la curva / Standard point: 25ng/ml | [5 empty] | 0.653 | 0.656 |  | 0.6545 | 25
Punto de la curva / Standard point: 12,5ng/ml | [5 empty] | 0.32 | 0.32 |  | 0.32 | 12
Punto de la curva / Standard point: 6,25ng/ml | [5 empty] | 0.182 | 0.179 |  | 0.1805 | 6.25
Punto de la curva / Standard point: 3,12ng/ml | [5 empty] | 0.111 | 0.11 |  | 0.1105 | 3.12
Control Negativo / Negative Control: | [5 empty] | 0.081 | 0.073 |  | 0.077
Los controles y estándares pueden colocarse en cualquier pocillo de la placa. Refleje los valores de DO obtenidos en estas celdas
Controls and standars can be placed anywhere in the plate. Put the corresponding DO values in these wells.
VALIDACIÓN / VALIDATION
| C(-) < 3,12 ng/ml |  |  | OK | OK
| 50 ng/ml |  |  | OK
DENSIDAD ÓPTICA 450 nm / OPTICAL DENSITY 450 nm | [12 empty] | FACTOR DE DILUCIÓN / DILUTION FACTOR
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.38 | 0.32 | 0.26 | 0.223 | 0.299 | 0.78 | 0.288 | 0.263 | 0.2 | 0.221 | 0.211 | 0.551 | A | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
B | 0.651 | 0.178 | 0.25 | 0.25 | 0.258 | 0.62 | 0.258 | 0.252 | 0.299 | 0.258 | 0.2 | 0.27 | B | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
C | 0.32 | 0.109 | 0.299 | 0.25 | 0.2 | 0.222 | 0.29 | 0.2 | 0.287 | 0.279 | 0.25 | 0.25 | C | 100 | 100 | 200 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
D | 0.182 | 0.073 | 0.28 | 0.258 | 0.216 | 0.24 | 0.31 | 0.2 | 0.222 | 0.274 | 0.222 | 0.263 | D | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
E | 0.111 | 0.211 | 0.96 | 0.15 | 0.2 | 0.5 | 0.263 | 0.555 | 1 | 0.75 | 0.28 | 0.63 | E | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
F | 0.081 | 0.2 | 1 | 0.2 | 0.2 | 0.554 | 0.247 | 0.6 | 0.993 | 0.3 | 0.298 | 0.629 | F | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 200 | 100 | 100 | 100 | 100
G | 1.38 | 0.8 | 0.2 | 1.292 | 0.2 | 0.28 | 0.22 | 0.25 | 0.155 | 0.201 | 0.277 | 0.222 | G | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
H | 0.649 | 1.3 | 0.13 | 1.2 | 0.157 | 0.27 | 0.266 | 0.235 | 0.2 | 0.299 | 0.28 | 0.288 | H | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
CONCENTRACIÓN ng/ml / CONCENTRATION ng/ml
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
B | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
C | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
D | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
E | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
F | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
G | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
H | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
B | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
C | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
D | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
E | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
F | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
G | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
H | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 49.4278 | 11.5524 | 9.4085 | 8.0865 | 10.8021 | 27.9889 | 10.409 | 9.5157 | 7.2646 | 8.015 | 7.6577 | 19.8064
B | 23.3796 | 6.4785 | 9.0512 | 9.0512 | 9.3371 | 22.2719 | 9.3371 | 9.1227 | 10.8021 | 9.3371 | 7.2646 | 9.7658
C | 11.5524 | 4.0131 | 10.8021 | 9.0512 | 7.2646 | 8.0507 | 10.4805 | 7.2646 | 10.3733 | 10.0874 | 9.0512 | 9.0512
D | 6.6215 | 2.7267 | 10.1232 | 9.3371 | 7.8363 | 8.6939 | 11.1951 | 7.2646 | 8.0507 | 9.9088 | 8.0507 | 9.5157
E | 4.0845 | 7.6577 | 34.4206 | 5.4781 | 7.2646 | 17.9841 | 9.5157 | 19.9493 | 35.8498 | 26.917 | 10.1232 | 22.6292
F | 3.0126 | 7.2646 | 35.8498 | 7.2646 | 7.2646 | 19.9136 | 8.944 | 21.5572 | 35.5997 | 10.8378 | 10.7663 | 22.5935
G | 49.4278 | 28.7035 | 7.2646 | 46.2835 | 7.2646 | 10.1232 | 7.9793 | 9.0512 | 5.6567 | 7.3004 | 10.016 | 8.0507
H | 23.3081 | 46.5693 | 4.7634 | 42.9962 | 5.7282 | 9.7658 | 9.6229 | 8.5152 | 7.2646 | 10.8021 | 10.1232 | 10.409
CONCENTRACIÓN µg/ml / CONCENTRATION µg/ml
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4.9428 | 1.1552 | 0.94085 | 0.80865 | 1.0802 | 2.7989 | 1.0409 | 0.95157 | 0.72646 | 0.8015 | 0.76577 | 1.9806
B | 2.338 | 0.64785 | 0.90512 | 0.90512 | 0.93371 | 2.2272 | 0.93371 | 0.91227 | 1.0802 | 0.93371 | 0.72646 | 0.97658
C | 1.1552 | 0.40131 | 2.1604 | 0.90512 | 0.72646 | 0.80507 | 1.048 | 0.72646 | 1.0373 | 1.0087 | 0.90512 | 0.90512
D | 0.66215 | 0.27267 | 1.0123 | 0.93371 | 0.78363 | 0.86939 | 1.1195 | 0.72646 | 0.80507 | 0.99088 | 0.80507 | 0.95157
E | 0.40845 | 0.76577 | 3.4421 | 0.54781 | 0.72646 | 1.7984 | 0.95157 | 1.9949 | 3.585 | 2.6917 | 1.0123 | 2.2629
F | 0.30126 | 0.72646 | 3.585 | 0.72646 | 0.72646 | 1.9914 | 0.8944 | 4.3114 | 3.56 | 1.0838 | 1.0766 | 2.2593
G | 4.9428 | 2.8704 | 0.72646 | 4.6283 | 0.72646 | 1.0123 | 0.79793 | 0.90512 | 0.56567 | 0.73004 | 1.0016 | 0.80507
H | 2.3308 | 4.6569 | 0.47634 | 4.2996 | 0.57282 | 0.97658 | 0.96229 | 0.85152 | 0.72646 | 1.0802 | 1.0123 | 1.0409