## Hoja1
INgezim Caseína
30.CAS.K2
Version: 05 2016
1.- | Introduce the OD values obtained with Standards and Controls supplied in the kit.
The calibration curve will be defined based on these values, and the formula (in the right/top corner of the curve) will be adapted to this particular assay.
|  |  | DO (1) | DO (2) | Media
| Neg. Control |  |  |  | 0 | O.D | ppm
| Standards Casein | 2 ppm |  |  | 0 | 0 | 2
|  | 1 ppm |  |  | 0 | 0 | 1
|  | 0,5 ppm |  |  | 0 | 0 | 0.5
|  | 0,25 ppm |  |  | 0 | 0 | 0.25
2.- | Obtain and substitute the CONSTANTS values contained in the new formula:
Being: y = ax + b
Value of constant "a" in the current formula:
Value of constant "b" in the current formula:
3.- | Validation of the assay.
|  | Criteria 1 = | NOT VALIDATED
|  | Criteria 2 = | NOT VALIDATED
4.- | Introduce the OD values obtained on each dilution of each sample.
Introduce the applied dilution on each assayed sample
| ID. Sample | Dilution applied | OD Values |  | Average OD | ppm of CASEIN
[6 empty] | (1) | (2)
| S1 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S2 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S3 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S4 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S5 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S6 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S7 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S8 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S9 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
| S10 |  |  |  | 0 | 0 | 0
[5 empty] | 0 | 0
Constant "a"
Constant "b"